AGENDA RID Well Issues, Well 33, and WC 5-221-2024 February 19, 2025 10 am RID Conference Room and Zoom

**RID Well Issues:**

* **Root Issues**
* **Fencing**
* **Ongoing Work Items TBD**

**Well 33**

* Final Contract Closeout
* Reports and Pump Design Recommendations
* Electrical Design Issues–Steve Osborn
* Power Supply- APS- Design and Permitting- RID and Steve Osborn
* Electrical Equipment Purchase and Installation- RID/ Steve Osborn
* Equipment Purchase and Installation and Schedule- RID
* **Fencing**
* Open Issues

**WC 5-221-2024**

* Grant Funding Requirements Issues
  + Billing and Payment Issues
  + Reporting Requirements

**61 (Kingery) –-700’**

* Reports and Pump Design Recommendations
* Electrical Design Issues–Steve Osborn
* Power Supply- APS- Design and Permitting- RID and Steve Osborn
* Electrical Equipment Purchase and Installation- RID/ Steve Osborn
* Equipment Purchase and Installation and Schedule- RID
* Final Closeout
* **Open Issues**

**65.1- Status and Schedule-700’**

* Pump Development and Testing
* Post Testing Information and Evaluation
* Electrical Design Issues–Steve Osborn
* Power Supply- APS- Design and Permitting- RID and Steve Osborn
* Electrical Equipment Purchase and Installation- RID/ Steve Osborn
* Equipment Purchase and Installation and Schedule- RID
* Reports and Pump Design Recommendations
* Demobilization
* Final Closeout
* **Open Issues**

64**- Status and Schedule-1,000’**

* Drill Rig Mobilization
* Pilot Hole
* Electrical Design Issues–Steve Osborn
* Power Supply- APS- Design and Permitting- RID and Steve Osborn
* Electrical Equipment Purchase and Installation- RID/ Steve Osborn
* Equipment Purchase and Installation and Schedule- RID
* **Open Issues**

**RID**

* **Haul Road Upgrading- Status**
* **Canal Upgrading- Status**
* Contract Document Issues-
  + General-
    - **120 Hour Development**
    - Development 300-3,500 GPM- Well 61 increased to 3,750 gpm
    - Pumping Depth-TBD
    - Turbidity- < 10 NTU
    - Sand- < 5 PPM
    - Fill- <5’
    - **Testing**
    - 12 hr. step
    - Wait > 12 hrs. or 90% recovery
    - 120 hr. constant
    - 24 hr. recovery
* Schedule Items and Project Scope
  + Electrical Design –Scott Osborn
  + Electrical Equipment Purchase- RID/ Scott Osborn
  + Power Supply- SRP- Design and Permitting- RID and Scott Osborn
  + Well Equipment Procurement and Installation- RID and Scott Osborn
  + Site Civil-
    - Basic Site Civil- CC2
      * Stantec- Design
    - Pipeline- Petra and or RID
      * Stantec- Design

Next Meeting- March 12, 2025 10 am

* Open Issues