	[image: image1.png]ROOSEVELT

IRRIGATION DISTRICT






	Directors 

W. Bruce Heiden, President
K.C. Gingg

Brandon Leister
JASON ROVEY

jOHN K. VANDERWEY 
	
	Superintendent

DONOVAN l. nEESE

103 West Baseline Road 

Buckeye, Arizona 85326 

TelePHone (623) 386-2046

Fax (623) 386-4360



Permit Water / Construction Water 

Project must be in district: 
PERMIT WATER $4.50 PER 1000 GALLONS or $1466.33 PER ACRE FOOT

$150.00 for maintenance Fee monthly charge

$150.000 for setup Fee onetime payment

Deposit required in the amount of estimated use. Larger jobs that require a year or more a 3 month needs to be in acct. prior to taking water.
If given in m/g (million gallons) example 1700 m/g = 17,000,000 (million gallons) divides by 1000 times $4.50.

Meters At RID Canal:

Customer will put in a Pump with Current Certified Flow Meter.
A current Certification of Meter will be sent to RID office prior to inspection of set up.
A picture of the meter once set up will is required to be emailed to RID.
District inspection required post set up. Call office to set time for watermaster to inspect.
Beginning reading will need to be verified by RID employee.
Every Monday morning no later than 9 am a meter current meter read is required to be called into RID office.
Can not have water on canal road, if filling truck on canal road must have aggregate. Can not impede
District's ingress / egress.
Pond Fill up by Lateral:
Ag water will always be delivered first.
If using an account to order water to a direct delivery point or filling a Pond we will need to have an inspection of location prior to approval.
 Also, again after pond is dug you will need an inspection of pond. All orders for these are called into office this is not a guarantee for delivery the next day, may take a day or so to fill, depending on availability.
If there should be any issues from the water not being able to be contained it is all your responsibility for any damages and or flooding.
RID has the right to terminate this permit without notice if needed.
Should this happen, you will be refunded any remaining funds in your account or be allowed to resume when extra water becomes available.
16 March 2025



